## Slide 1
ENERGY SAVINGS PERFORMANCE CONTRACTING
Prepared for City of Franklin
April 3rd, 2017

## Slide 2
AGENDA
Indiana Code 36-1-12.5
Guaranteed Savings Program
Energy Conservation Measures
Financial Cash Flow Analysis
RFP Process
Proposed Timeline
Notes: Added introductions

## Slide 3
The Indiana General Assembly enacted IC 36-1-12.5 which establishes the basis for energy efficiency in state and local government buildings.
This bill authorizes guaranteed energy savings performance contracting, which can include private sector financing to fund these projects.
This bill authorizes a program for achieving energy, operational and capital cost avoidance savings in state and local government buildings through ESPCs.
INDIANA CODE 36-1-12.5

## Slide 4
Key program benefits:
Guaranteed project cost – NO CHANGE ORDERS
Guaranteed savings
Guaranteed equipment performance
Avoid using money from capital and operating budgets to address building needs
Make project financing exempt from net allowed indebtedness and avoid future budgeting issues
Verification of annual savings through a monitoring program
Update aging equipment with newer, more efficient products
Reduce maintenance costs
Single point of accountability
Ongoing operational support
INDIANA CODE 36-1-12.5

## Slide 5: PERFORMANCE CONTRACTING MODEL

## Slide 6
ENERGY CONSERVATION MEASURES
Lighting
Building Envelope
Renewable Energy
Building Automation
Water Conservation
Fleet Services
Mechanical Upgrades
Retro Commissioning
Notes: Drake’s slides

## Slide 7: BUILDING LIGHTING
Current conditions:
Interior lighting systems are T-8 and T-12.
Many areas are over-lit.
Exterior lighting is various metal halide.
Recommendation:
Upgrade All City Facility Lighting to LED.
Rebates available through Duke.
Increased light quality.
Decreased maintenance costs.

## Slide 8: BUILDING AUTOMATION & CONTROLS
Current conditions:
Control systems throughout the county are mostly stand-alone thermostats
Most are antiquated and non-programmable.
Comfort issues
Increase maintenance and utility costs
Recommendation:
Upgrade City Facility Control Systems in the Fleet Maintenance Garage, Parks Maintenance Building, Green Lawn Cemetery, Active Adult Center, City Hall, Cultural Arts & Rec Center, Wonder Five Center, and WWTP
Remote monitoring capability
Increased comfort

## Slide 9: HVAC REPLACEMENT
Current conditions:
Several units are near the end of their useful life
Increased utility and maintenance costs
Recommendation:
Complete HVAC Replacements for the Active Adult Center, Cultural Arts & Rec Center, Fleet Maintenance Garage, Wonder Five Center, WWTP, and Green Lawn Cemetery
New high-efficiency equipment will save on utility costs
Maintenance costs savings
Capital avoidance cost savings
Increased comfort through better temperature control

## Slide 10: FLEET SERVICES
Current conditions:
Total of 124 city owned vehicles
Vehicles age in range of 1 to 24 years of age
61% of vehicles are 6 years or older
$153,215 spent on maintenance/repairs
Recommendation:
Recommend implementing a fleet leasing program for all city owned vehicles.
Recommended installing bi-fuel propane upgrade to 47 high-mileage vehicles.
Reduced maintenance/repair costs
Higher octane and cleaner burning fuel.

## Slide 11: SAVINGS SUMMARY
Energy Conservation Measures: | Projected GUARANTEED Savings:
Building Utilities | $32,643
Building Maintenance | $53,055
Fleet Acquisition and Maintenance | $148,895
Building Maintenance | $13,296
Projected Annual Cost Savings | $247,889

## Slide 13
FINANCIAL CASH FLOW ANALYSIS
$1,610,127

## Slide 14
RFP PROCESS
Initial Meeting 09/06/2016
Feasibility Stage 12/16/2016 – 03/10/2017
Deliver Findings to City of Franklin 03/15/2017
Deliver Presentation to City Council 04/03/2017
City Council Votes to Issue RFP 04/17/2017
1st Legal Advertisement 1 Week
2nd Legal Advertisement 1 Week
Submission of Proposals 30 Days
Provider Selected 1-2 Weeks
Scope/Contract Negotiation 2-3 Weeks
Contract Presented to City Council for Approval 07/18/2017
Final Design, Permits, Equipment Ordering, etc. 6-8 Weeks
Project Installation Begins 1st week of September
SAMPLE TIMELINE